# FIG Food, Water & Environmental Laboratory

The King Edward VII Memorial Hospital, Stanley, Falkland Islands Telephone: (+500) 28064 E-mail: FWElab@kemh.gov.fk

Water Sample Request Form

Please use one request form for each sample. The laboratory requires a minimum of 24 hours’ notice before submission of samples. Information on the request form must match details on the sample bottle.

Customer Name:   _________________	Customer Code:			 (if known)

Sample Type: 		Drinking water (Treated)		Drinking water (Untreated)        Pool water

Surface water (Rivers, sea etc)	Endoscope rinse water	        Dental line water

Other (Please specify)______________________________________________________

Collected By:  ________________    	Collection Date/Time: ___/___/_____      ___:___

| Sample Ref No. | Source/Site | Comments |
| --- | --- | --- |

Water Testing Profile Required (Please tick):      		*Minimum sample bottle volume required

Standard test profile (ACC 37°C & 22°C / Total coliforms & Escherichia coli)			*125mL

Full test profile (Standard test profile plus Pseudomonas aeruginosa and Enterococci)			*500mL

Dental line water (ACC 22°C)									*125mL

Endoscopy water (ACC 30°C / P. aeruginosa detection)						*250mL

Swimming / Spa pool water (ACC 37°C (24hr) / Total coliforms & E. coli / P. aeruginosa)		*250mL

Surface water profile (Total coliforms & E. coli / Enterococci)					*250mL

Legionella test (Legionella detection and enumeration)						*1 litre

Water – Other (Please specify tests required) _____________________________________________________

Declaration

I confirm that the above information is correct and that samples have been collected in accordance with sterile sampling procedures.

Signed: ___________________________

Affix Barcode

FOR LABORATORY USE ONLY:

Received by: __________________	Date:___________________

Comments:

Condition on receipt satisfactory?

YES  /   NO

| Media sterile? | YEA 37 | Y / N |  | Bottle number: |  |  | YEA 22 |  | Y / N |  | Bottle number: |  |  | Funnel sterility passed? |  | Y / N |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test parameter | Counting |  |  |  |  | No. to confirm | Confirmations |  |  |  | No. confirmed | Reporting |  |  |  |  |  |  |  |
|  | Aliquot examined | Count |  | Initial/Date |  |  |  |  |  |  |  | Reportable count |  |  | Units |  | Initial / date |  |  |
| ACC 37°C/48hr |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/mL |  |  |  |  |
| ACC 22°C/72hr |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/mL |  |  |  |  |
|  |  |  |  |  |  |  | Oxidase |  | P. aeruginosa? |  |  |  |  |  |  |  |  |  |  |
| ACC 30°C/2 and 5 days | 100mL | D2: |  |  |  |  |  |  |  |  |  |  |  |  | cfu/100mL |  |  |  |  |
|  |  | D5: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Oxidase |  |  |  |  |  |  |  |  |  |  |  |  |
| Coliforms (Excluding E. coli) |  |  |  |  |  |  |  |  |  |  |  | Total coliform (including E. coli): |  |  | cfu/100mL |  |  |  |  |
| E. coli |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/100mL |  |  |  |  |
|  |  |  |  |  |  |  | Oxidase |  | API 20NE |  |  |  |  |  |  |  |  |  |  |
| Pseudomonas aeruginosa |  |  |  |  |  |  |  |  | Profile + ID + Printout: |  |  |  |  |  | cfu/100mL |  |  |  |  |
|  |  |  |  |  |  |  | BAA - Casein hydrolysis |  |  |  |  |  |  |  |  |  |  |  |  |
| Enterococci |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/100mL |  |  |  |  |
| Legionella | Dilution | Counts |  |  |  | No. to confirm | Set-up date: |  |  |  | No. confirmed | Reportable count Treatment with highest count |  |  | Units |  | Positive control counts(D10) |  |  |
|  |  | Day __ | Day 7 |  | Day 10 |  | BCYE | BCYE-C |  | Latex |  |  |  |  |  |  |  |  |  |
| Untreated (GVPC) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/L |  |  |  |  |
| Untreated |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/L |  |  |  |  |
| Acid treated |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/L |  |  |  |  |
| Heat treated |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cfu/L |  |  |  |  |
| Initial/ date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Positive control dilution: |  |  |
| Comments (e.g. colony descriptions, additional tests etc.): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Lab Number…………………………...

FWE Water Sample Worksheet – for laboratory use only